## EC-G4  Electric Fire Pump Controllers				      MASTER

---------- EQUIPMENT ORDERED ----------

COMPLETE CONTROLLER MODEL NO.

IN TYPE 12 DUST TIGHT ENCLOSURE (OR AS INDICATED BELOW)

WITHSTAND RATED AT 100,000 RMS SYMMETRICAL AMPS AT  200-480VAC (OR AS INDICATED BELOW)

FOR USE WITH        HP.         VAC       PH.        HZ MOTOR

##### STARTING TYPE

ECA – ACROSS THE LINE				 ECS – SOLID STATE (SCR)

ECP – PART WINDING					 ECT - AUTOTRANSFORMER

ECR – PRIMARY REACTOR				 ECVA – VARIABLE SPEED, ACROSS-THE-LINE BYPASS

ECO – WYE DELTA OPEN TRASISTION			 ECVR – VARIABLE SPEED, REACTOR BYPASS

ECY – WYE DELTA CLOSED TRANSITION		 ECVS – VARIABLE SPEED, SOFT-START BYPASS

INCLUDES 8 ADDITIONAL PUMP HOUSE TROUBLE INPUTS (USER DEFINEABLE)

##### AND 8 REMOTE ALARM CONTACTS (5 ALARM CONTACTS FOR VARIABLE SPEED) AS DESCRIBED BELOW

Contacts are rated 6 amps at 30 VDC, 6 amps at 250 VAC.  UL pilot duty ratings R300 and B300.  Relays can be programmed for any of the following: AC Failure, AC Volts Low, CB Trip, Fail to Start, Load Shed, Lockout, Low Discharge Pressure, Low Suction Pressure, Low Zone Start (On Demand), Motor Overload,  Over Pressure, Phase Reversal, PhaseSmart Pump House Trouble inputs, Pump Run, Single Phase Running, Transducer Failure.

INCLUDES MODIFICATIONS CHECKED BELOW:

(CONTROLLER MODEL NUMBER INDICATES MODIFICATIONS SUPPLIED)

FC     – FOAM CONTROLLER				 16A  – 500 PSI, PRESSURE TRANSDUCER, TEST VALVE

LPM – LEADING PHASE MONITOR				  SOLENOID & WET PARTS

PPE0 – PERSONAL PROTECTION EQUIPMENT NOT	 19     – SPACE HEATER

REQ’D FOR CONTROL CIRCUIT ACCESS		 20     – SPACE HEATER WITH THERMOSTAT

SP1    – SUPERVISORY POWER INPUT (120 VAC)		 20A  – SPACE HEATER WITH HUMIDISTAT

SP2    – SUPERVISORY POWER INPUT (240 VAC)		 32     – LOW PUMP ROOM TEMPERATURE SWITCH

3R     – TYPE 3R RAINTIGHT ENCLOSURE		 33     – AUXILIARY POWER OUTPUT (1 AMP @ 120 VAC)

4        – TYPE 4 WATERTIGHT ENCLOSURE		 48E   – EMAIL NOTIFCATION THROUGH ETHERNET

4XB  – TYPE 4X, 304 SS WATERTIGHT ENCLOSURE	 48F   – LOCAL MODBUS RTU CONNECTION

4XC  – TYPE 4X, 316 SS WATERTIGHT ENCLOSURE	 48J    – EXTERNAL REMOTE ALARM CONNECTION BOX

8C     – BOTTOM FEED TERMINALS			 83LT – LOW SUCTION TRANSDUCER & WET PARTS

8E     – CE DECLARATION FOR EUROPEAN COMM.	 200    – 200,000 AMP WITHSTAND RATING

15     – 300 PSI, 316 SS  PRESSURE TRANSDUCER,

TEST VALVE SOLENOID & WET PARTS

15A  – 300 PSI, 300 SERIES SS PRESSURE TRANSDUCER,

TEST VALVE SOLENOID & WET PARTS

ORDER ALSO INCLUDES:

JOB IDENTIFICATION:

| Master Control Systems, Inc. LAKE BLUFF, ILLINOIS U.S.A | EC ORDER SELECTION DRAWING | Date: 30 April 2014 |
| --- | --- | --- |
|  |  | Drawing 21098 Issue 1 |