## MC-G4  Electric Fire Pump Controllers				      MASTER

---------- EQUIPMENT ORDERED ----------

COMPLETE CONTROLLER MODEL NO.

IN TYPE 2 DRIP PROOF ENCLOSURE (OR AS INDICATED BELOW)

TYPE 12 DUST TIGHT ENCLOSURE IS STANDARD ON VARIABLE SPEED

WITHSTAND RATED AT 100,000 RMS SYMMETRICAL AMPS AT  200-480VAC (OR AS INDICATED BELOW)

FOR USE WITH        HP.         VAC       PH.        HZ MOTOR

##### STARTING TYPE

MCA – ACROSS THE LINE				 MCS – SOLID STATE (SCR)

MCP – PART WINDING					 MCT - AUTOTRANSFORMER

MCR – PRIMARY REACTOR				 MCVA – VARIABLE SPEED, ACROSS-THE-LINE BYPASS

MCO – WYE DELTA OPEN TRASISTION			 MCVR – VARIABLE SPEED, REACTOR BYPASS

MCY – WYE DELTA CLOSED TRANSITION		 MCVS – VARIABLE SPEED, SOFT-START BYPASS

INCLUDES MODIFICATIONS CHECKED BELOW:

(CONTROLLER MODEL NUMBER INDICATES MODIFICATIONS SUPPLIED)

POC IS STANDARD ON VARIABLE SPEED CONTROLLERS

POC – PROGRAMMABLE OPTION CHASSIS – PROVIDES 8 PROGRAMMABLE INPUTS AND 8 PROGRAMMABLE

RELAY OUTPUTS (5 PROGRAMMABLE RELAY OUTPUTS FOR VARIABLE SPEED).   CONTACTS ARE RATED 6 AMPS AT 30 VDC, 6 AMPS AT 250 VAC.  UL PILOT DUTY  RATINGS R300  AND B300.  RELAYS CAN BE PROGRAMMED FOR ANY OF THE FOLLOWING: AC FAILURE, AC VOLTS LOW,  CB  TRIP, FAIL TO START, LOAD SHED, LOCKOUT, LOW DISCHARGE PRESSURE, LOW SUCTION PRESSURE, LOW ZONE START (ON DEMAND), MOTOR OVERLOAD,  OVER PRESSURE, PHASE REVERSAL, PHASESMART PUMP HOUSE TROUBLE INPUTS, PUMP RUN, SINGLE PHASE RUNNING,  TRANSDUCER FAILURE.

FC     – FOAM CONTROLLER				 16A  – 500 PSI, PRESSURE TRANSDUCER, TEST VALVE

LPM – LEADING PHASE MONITOR			                  SOLENOID & WET PARTS

SP1   – SUPERVISORY POWER INPUT (120 VAC)		 19     – SPACE HEATER

SP2   – SUPERVISORY POWER INPUT (240 VAC)		 20     – SPACE HEATER WITH THERMOSTAT

12     – TYPE 12 DUSTTIGHT ENCLOSURE		 20A   – SPACE HEATER WITH HUMIDISTAT

3R    – TYPE ER RAINTIGHT ENCLOSURE		 27     – 200,000 AMP EMERGENCY WITHSTAND RATING

4       – TYPE 4 WATERTIGHT ENCLOSURE		 32     – LOW PUMP ROOM TEMPERATURE SWITCH

4XB – TYPE 4X, 304 SS WATERTIGHT ENCLOSURE	                  (REQUIRES OPTION POC)

4XC – TYPE 4X, 316 SS WATERTIGHT ENCLOSURE 	 33      – AUXILIARY POWER OUTPUT (1 AMP @ 120 VAC)

8E    –  CE DECLARATION FOR EUROPEAN COMM.	 83LT – LOW SUCTION TRANSDUCER & WET PARTS

15    – 300 PSI, 316 SS  PRESSURE TRANSDUCER, 		 200    – 200,000 AMP WITHSTAND RATING

TEST VALVE SOLENOID & WET PARTS

15A – 300 PSI, 300 SERIES SS PRESSURE TRANSDUCER,

TEST VALVE SOLENOID & WET PARTS

ORDER ALSO INCLUDES:

JOB IDENTIFICATION:

| Master Control Systems, Inc. LAKE BLUFF, ILLINOIS U.S.A | MC ORDER SELECTION DRAWING | Date: 27 February 2014 |
| --- | --- | --- |
|  |  | Drawing 20098 Issue 1 |