## EC Electric Fire Pump Controllers					      MASTER

---------- EQUIPMENT ORDERED ----------

COMPLETE CONTROLLER MODEL NO.

IN TYPE 12 DUST TIGHT ENCLOSURE (OR AS INDICATED BELOW)

WITHSTAND RATED AT       RMS SYM. AMPS AT        VAC

FOR USE WITH        HP.         VAC       PH.        HZ MOTOR

##### STARTING TYPE

ECA – ACROSS THE LINE					 ECO – WY DELTA OPEN TRANSITION

ECP – PART WINDING					 ECY – WYE DELTA CLOSED TRANSITION

ECR – PRIMARY REACTOR				 ECS – SOLID STATE (SCR)

ECT – AUTOTRANSFORMER				 ECH – HIGH VOLTAGE ACROSS THE LINE

ECVA – VARIABLE SPEED, ACROSS THE LINE		 ECVR – VARIABLE SPEED, REACTOR BYPASS

ECVS – VARIABLE SPEED, SOFT START BYPASS

INCLUDES OPTIONS CHECKED BELOW:

(CONTROLLER MODEL NUMBER INDICATES OPTIONS SUPPLIED)

C – 200,000 AMP WITHSTAND RATING			 Q – AUX. CONTACTS FOR OPTION “O” SIGNALS

D – SEQUENCE START (G3)				 R – DELUGE VALVE START & REMOTE START RELAYS (G3)

F – PUMP RUNNING LIGHT (G3)				  T – WEEKLY TEST (G3)

G – SUPERVISORY POWER LOSS				 W – SPECIAL MOD. NOT COVERED BY CODES

H – 100,000 AMP WITHSTAND RATING (G3)			 X – SPECIAL MODIFICATION (SEE CODES BELOW)

J – FAIL TO START LAMP & CONTACTS (G3)			 Y – MOTOR OVERLOAD CIRCUIT

K – BUILT-IN ALARM SYSTEM				 Z – HIGH ZONE DELAYED START (HIGH ZONE UNITS)

M – MANUAL, NON-AUTOMATIC

N – CLOSE DIFFERENTIAL PWR. CONTACTS

O – PUMP ROOM TROUBLE ALARM LIGHT

INCLUDES MODIFICATIONS CHECKED BELOW:

(CONTROLLER MODEL NUMBER INDICATES MODIFICATIONS SUPPLIED)

PN – PR4001 BUILT-IN PAPERLESS PRESSURE			 18 – N.Y.B.S.A. APPROVALS

& ALARM RECORDER W/MODEM (G3)			 19 – SPACE HEATER

PNT – PN WITH NETWORK INTERFACE (G3)			 20 – HEATER & THERMOSTAT

PS – PN WITH DIGITAL PRESSURE CONTACTS		 20A – HEATER & HUMIDISTAT

3R – TYPE 3R RAIN TIGHT ENCLOSURE			 21 – MOTOR LOCKOUT RELAY

4 – TYPE 4 HOSE TIGHT ENCLOSURE			 32 – PUMP ROOM THERMOSTAT

4XA – TYPE 4X ORGANIC COATING				 33 – AUX. 115 VAC POWER SUPPLY

4XB – TYPE 4X 304 STAINLESS STEEL ENCLOSURE		 34 – CONTROL POWER LOSS START

4XC – TYPE 4X 316 STAINLESS STEEL ENCLOSURE		 35 – LAMP TEST SWITCH

15 – 300 PSI 316 STAINLESS STEEL PRESSURE SWITCH		 85C – MOTOR SINGLE PHASING LAMP & CONTACTS

16 – 600 PSI 403 STAINLESS STEEL PRESSURE SWITCH		 150 – 150,000 AMP WITHSTAND RATING

17A – 1 ”C” AUX. MOTOR RUN CONTACTS			 200 – 200,000 AMP WITHSTAND RATING

17B – 2 “C” AUX. MOTOR RUN CONTACTS

17C – 1 “C” AUX. A.C. FAILURE CONTACTS

17D – 2 “C” AUX. A.C. FAILURE CONTACTS

17E – 1 “C”  AUX. PHASE REVERSAL CONTACTS

17F – 2 “C” AUX.  PHASE REVERSAL CONTACTS

ORDER ALSO INCLUDES:

REMOTE ALARM PANEL MODEL       FOR REMOTOR INSTALLATION AT A POINT OF CONSTANT ATTENDANCE

JOB IDENTIFICATION:

| Master Control Systems, Inc. LAKE BLUFF, ILLINOIS U.S.A | EC ORDER SELECTION DRAWING | Date: 30 August 2010 |
| --- | --- | --- |
|  |  | Drawing WB12098 Issue 2 |